## PART CD
Danby Model:AAC080EB2G
Factory Model:MWK-08CRN1-BK3
Effective Date:3/3/2014
Revision: | New
NO | PART NUMBER | PART DESCRIPTION (ENG) | QTY | Notes
1 | 2011211A0653 | Front panel assembly | 1 | Special Order
2 | 201121190496 | Front panel | 1
3 | 2033213A0214 | Display box assembly | 1
4 | 201521390151 | Evaporator assembly | 1 | Special Order
5 | 201400603506 | Compressor | 1 | Special Order
6 | 201521390150 | Condenser assembly | 1 | Special Order
7 | 2028213A0025 | Installation accessory | 1
8 | 201221390176 | Cabinet assembly | 1 | Special Order
9 | 2012213A0032 | Top shutter frame | 1
10 | 201221390179 | Chassis assembly | 1 | Special Order
11 | 201621390441 | Suction pipe | 1 | Special Order
12 | 201621390510 | Discharge pipe assembly | 1 | Special Order
13 | 201100300047 | Axial flow fan | 1 | Special Order
14 | 202400401547 | Asynchronous motor | 1 | Special Order
15 | 201121390141 | Rear separating | 1 | Special Order
16 | 201221390037 | Left linker of fan motor | 1 | Special Order
17 | 201221390038 | Right linker of fan motor | 1 | Special Order
18 | 201100100062 | Centrifugal fan | 1 | Special Order
19 | 202221390012 | Volute shell (below) | 1 | Special Order
20 | 202221390011 | Mid volute shell | 1 | Special Order
21 | 202221390010 | Volute shell (above) | 1 | Special Order
22 | 2033213A0213 | Electronic control box assembly | 1 | Special Order
23 | 201221390181 | Cover of electronic control box | 1 | Special Order
24 | 2013215A0009 | Main control board assembly | 1 | Special Order
25 | 202433190000 | Ambient temperature sensor assembly | 1 | Special Order
26 | 203321390181 | Electronic control box assembly | 1 | Special Order
27 | 202401400004 | Capacitor of compressor | 1 | Special Order
28 | 202402200111 | Power cord | 1 | Special Order
29 | 201221390182 | Electronic control box | 1 | Special Order
30 | 2033550A9866 | Remote controller | 1
31 | 201121190321 | Air filter | 1
System QA
5 | 201402203290 | Compressor | 1 | Special Order
6 | 201521390155 | Condenser assembly | 1 | Special Order
10 | 201221390177 | Chassis assembly | 1 | Special Order
11 | 201621190639 | Suction pipe | 1 | Special Order
12 | 201621390519 | Discharge pipe assembly | 1 | Special Order
26 | 203321390191 | Electronic control box assembly | 1 | Special Order
27 | 202401400002 | Capacitor of compressor | 1
System RZ
4 | 201521390094 | Evaporator assembly | 1 | Special Order
5 | 201402000970 | Compressor | 1 | Special Order
11 | 201621390499 | Suction pipe | 1 | Special Order
12 | 201621390494 | Discharge pipe assembly | 1 | Special Order
26 | 203321390189 | Electronic control box assembly | 1 | Special Order
27 | 202401400029 | Capacitor of compressor | 1