## PART CD
Danby Model: DAC060EUB5GDB
Factory Model: MWEUK-06CRN1-BCL1
Effective Date: 23/02/2016
Revision: | New
NO | PART NUMBER | PART DESCRIPTION (ENG) | QTY | PARTS SPECIFICATION | Notes
1 | 12120300A10076 | Front panel assembly | 1.0 | HIPS
1.1 | 12120300002289 | Front panel | 1.0 | HIPS | Special Order
1.2 | 12120300002288 | Air outlet frame | 1.0 | HIPS | Special Order
1.4 | 12120300002290 | Panel frame | 1.0 | HIPS | Special Order
1.5 | 12120300002285 | Vertical vane I | 2.0 | HIPS | Special Order
1.6 | 12120300002286 | Louver holder | 2.0 | ABS | Special Order
1.7 | 12120300002291 | Vertical vane II | 4.0 | HIPS | Special Order
1.8 | 17220300A06943 | Display box assembly | 1.0 |  | Special Order
2 | 15820300001147 | Evaporator assembly Gas valve assembly | 1.0 |  | Special Order
3 | 11103010002129 | Fixed Speed Rotary Compressor | 1.0 |  | Special Order
4 | 15820300001148 | Condenser Assembly | 1.0 |  | Special Order
5 | 12020300A00584 | Installation accessory | 1.0
7 | 12220300000791 | Floor Subassembly | 1.0 | 热镀锌板0.5 | Special Order
8 | 12220300A00379 | Upper Shutter Frame Assembly | 1.0 | 热镀锌板0.8
9 | 12220300000408 | Chassis Assembly | 1.0 | 热镀锌板0.8 | Special Order
11 | 15120300003531 | Compressor suction pipe | 1.0 | Φ9.52*0.7 | Special Order
12 | 15120300003525 | Parts of compressor exhaust pipe | 1.0 | Φ8*0.75 | Special Order
13 | 12100105000087 | Axial fan | 1.0 |  | Special Order
14 | 11002012009240 | Single-phase Asynchronous Motor | 1.0 |  | Special Order
15 | 12120300000563 | Rear barrier Subassembly | 1.0 | ABS | Special Order
16 | 12220300000454 | Left Pulling Rod of Motor | 1.0 | 热镀锌板1.2 | Special Order
17 | 12220300000455 | Right Puling Rod of Motor | 1.0 | 热镀锌板1.2 | Special Order
18 | 12100103000066 | Centrifugal Fan | 1.0 |  | Special Order
19 | 12820300000116 | Lower Air Duct Foam | 1.0 | 阻燃EPS | Special Order
20 | 12820300000126 | Foam of middle air channel | 1.0 | 阻燃EPS | Special Order
21 | 12820300000107 | Upper Air Duct Foam | 1.0 | 阻燃EPS | Special Order
22 | 17220300000518 | E-Parts Box Subassembly of Upper Air-out Window Series | 1.0 |  | Special Order
22.2 | 12220300000492 | Electrical Control Box Cover | 1.0 | 热镀锌板0.6 | Special Order
22.3 | 17120300002168 | Main Control Board Subassembly(Sticker) | 1.0 |  | Special Order
22.4 | 11201007000088 | Room Temperature Sensor | 1.0
23 | 17220300000308 | E-Parts Box Assembly of Upper Air-out Window Series | 1.0 |  | Special Order
23.2 | 17400104000007 | Combined Capacitor | 1.0 |  | Special Order
23.3 | 12200203000011 | Capacitor Clamp | 1.0 |  | Special Order
23.5 | 17401202000230 | Power Supply Cable Subassembly | 1.0 | Style JLL301-18 Size, AWG 18 x 3 Cord Set Rating, V, A 120, 10 | Special Order
23.6 | 12220300000481 | E-Parts Box Subassembly | 1.0 | 热镀锌板0.6 | Special Order
24 | 17317000A04536 | Remote controller | 1.0
25 | 12100204000537 | Filter | 1.0