## PART CD
Danby Model:DAC080EB2GDB
Factory Model:MWK-08CRN1-BK3
Effective Date:3-Mar-14
Revision: | New
NO | PART NUMBER | UPDATED PART NUMBER | PART DESCRIPTION (ENG) | QTY | Notes
1 | 2011211A0585 |  | Front panel assembly | 1 | Special Order
2 | 201121190496 |  | Front panel | 1
3 | 2033213A0214 |  | Display box assembly | 1
4 | 201521390151 |  | Evaporator assembly | 1 | Special Order
5 | 201400603506 |  | Compressor | 1 | Special Order
6 | 201521390150 |  | Condenser assembly | 1 | Special Order
7 | 2028213A0021 |  | Installation accessory | 1
8 | 201221390176 |  | Cabinet assembly | 1 | Special Order
9 | 2012213A0032 |  | Top shutter frame | 1
10 | 201221390179 |  | Chassis assembly | 1 | Special Order
11 | 201621390441 |  | Suction pipe | 1 | Special Order
12 | 201621390510 |  | Discharge pipe assembly | 1 | Special Order
13 | 201100300047 |  | Axial flow fan | 1
14 | 202400401398 |  | Asynchronous motor | 1 | Special Order
15 | 201121390141 |  | Rear separating | 1
16 | 201221390037 |  | Left linker of fan motor | 1
17 | 201221390038 |  | Right linker of fan motor | 1 | Special Order
18 | 201100100062 |  | Centrifugal fan | 1 | Special Order
19 | 202221390012 |  | Volute shell (below) | 1 | Special Order
20 | 202221390011 |  | Mid volute shell | 1
21 | 202221390010 |  | Volute shell (above) | 1 | Special Order
22 | 2033213A0213 |  | Electronic control box assembly | 1 | Special Order
23 | 201221390181 |  | Cover of electronic control box | 1 | Special Order
24 | 2013215A0009 |  | Main control board assembly | 1
25 | 202433190000 |  | Ambient temperature sensor assembly | 1
26 | 203321390181 |  | Electronic control box assembly | 1 | Special Order
27 | 202401400004 |  | Capacitor of compressor | 1
28 | 202402200111 |  | Power cord | 1
29 | 201221390182 |  | Electronic control box | 1
30 | 2033550A9613 | 2033550A9866 | Remote controller | 1
31 | 201121190321 |  | Air filter | 1
| System QA |  |  | 1
5 | 201402203290 |  | Compressor | 1 | Special Order
6 | 201521390155 |  | Condenser assembly | 1 | Special Order
10 | 201221390177 |  | Chassis assembly | 1 | Special Order
11 | 201621190639 |  | Suction pipe | 1 | Special Order
12 | 201621390519 |  | Discharge pipe assembly | 1 | Special Order
26 | 203321390191 |  | Electronic control box assembly | 1 | Special Order
27 | 202401400002 |  | Capacitor of compressor | 1 | Special Order
| System RZ |  |  | 1
4 | 201521390094 |  | Evaporator assembly | 1 | Special Order
5 | 201402000970 |  | Compressor | 1 | Special Order
11 | 201621390499 |  | Suction pipe | 1 | Special Order
12 | 201621390494 |  | Discharge pipe assembly | 1 | Special Order
26 | 203321390189 |  | Electronic control box assembly | 1 | Special Order
27 | 202401400029 |  | Capacitor of compressor | 1 | Special Order