## PART CD
Danby Model:DAC080EB3GDB
Factory Model:MWK-08CRN1-BK3
Effective Date:1/23/2014
Revision: | New
NO | PART NUMBER | UPDATED PART NUMBER | PART DESCRIPTION (ENG) | QTY | Notes
1 | 2011211A0607 |  | Front panel assembly |  | Special Order
2 | 2011211A0519 |  | Front panel
3 | 2033213A0221 |  | Display box assembly |  | Special Order
4 | 201521390151 |  | Evaporator assembly |  | Special Order
5 | 201400603506 |  | Compressor |  | Special Order
6 | 201521390150 |  | Condenser assembly |  | Special Order
7 | 2028213A0020 |  | Installation accessory
8 | 201221390176 |  | Cabinet assembly |  | Special Order
9 | 2012213A0032 |  | Top shutter frame
10 | 201221390179 |  | Chassis assembly
11 | 201621390441 |  | Suction pipe |  | Special Order
12 | 201621390510 |  | Discharge pipe assembly |  | Special Order
13 | 201100300047 |  | Axial flow fan
14 | 202400401398 |  | Asynchronous motor
| 202400401283 |  | Asynchronous motor
| 202400401547 |  | Asynchronous motor
15 | 201121390141 |  | Rear separating |  | Special Order
16 | 201221390037 |  | Left linker of fan motor |  | Special Order
17 | 201221390038 |  | Right linker of fan motor |  | Special Order
18 | 201100100062 |  | Centrifugal fan
19 | 202221390012 |  | Volute shell (below) |  | Special Order
20 | 202221390011 |  | Mid volute shell |  | Special Order
21 | 202221390010 |  | Volute shell (above) |  | Special Order
22 | 2033213A0213 |  | Electronic control box assembly |  | Special Order
23 | 201221390173 |  | Cover of electronic control box |  | Special Order
24 | 2013215A0009 |  | Main control board assembly
25 | 202433190000 |  | Ambient temperature sensor assembly
26 | 203321390181 |  | Electronic control box assembly |  | Special Order
27 | 202401400004 |  | Capacitor of compressor
28 | 202402200111 |  | Power cord |  | Special Order
29 | 201221390172 |  | Electronic control box |  | Special Order
30 | 2033550A9621 | 2033550A9970 | Remote controller
31 | 201121190029 |  | Air filter
System QA
5 | 201402203290 |  | Compressor |  | Special Order
6 | 201521390155 |  | Condenser assembly |  | Special Order
10 | 201221390177 |  | Chassis assembly |  | Special Order
11 | 201621190639 |  | Suction pipe |  | Special Order
12 | 201621390519 |  | Discharge pipe assembly |  | Special Order
26 | 203321390191 |  | Electronic control box assembly |  | Special Order
27 | 202401400002 |  | Capacitor of compressor |  | Special Order
System RZ
4 | 201521390094 |  | Evaporator assembly |  | Special Order
5 | 201402000970 |  | Compressor |  | Special Order
11 | 201621390499 |  | Suction pipe |  | Special Order
12 | 201621390494 |  | Discharge pipe assembly |  | Special Order
26 | 203321390189 |  | Electronic control box assembly |  | Special Order
27 | 202401400029 |  | Capacitor of compressor |  | Special Order