## PART CD
Danby Model: DAC080EB3WDB
Factory Model: MWHUK-08CRN8-BCL0
Effective Date: 01/01/2019
Revision: 00
NO | PART NUMBER | PART DESCRIPTION (ENG) | QTY | PARTS SPECIFICATION | Notes
1 | 12120300A22690 | Front panel assembly | 1 | HIPS+ABS
1.1 | 12120300A21652 | Front panel | 1 | HIPS | Special Order
1.2 | 12120300A21653 | Air outlet frame | 2 | HIPS | Special Order
1.4 | 12120300A22528 | Panel frame | 1 | HIPS | Special Order
1.8 | 17220300A09683 | Display box assembly | 1 | UL-KC35/N1Y-KBV.JD.WS.XS.XK1.5
2 | 15820300002762 | Evaporator, Gas valve assembly | 1 | US-KC23/N8Y-HKB(CL0).ZL.1 | Special Order
3 | 11103010015893 | Fixed Speed Rotary Compressor | 1 | KSN66E11VBZC1 | Special Order
4 | 15820300002764 | Condenser Assembly | 1 | US-KC23/N8Y-HKB(CL0).ZL.2 | Special Order
5 | 12020300A02165 | Installation accessory | 1 | ELUS-KC23/N1Y-KG10(K3)-F-D.8A.1
7 | 12220300003504 | Cabinet assembly | 1 | 0.5 | Special Order
8 | 12220300003506 | Top shutter frame | 1 | 0.8+White
9 | 12220300003508 | Chassis assembly | 1 | 0.8 | Special Order
11 | 15120300005762 | Compressor return pipe | 1 |  | Special Order
12 | 15120300005771 | Compressor exhaust pipe | 1 |  | Special Order
13 | 12100105000087 | Axial fan | 1 | ZL-310*79*8-4F
14 | 11002012032473 | Single phase asynch. motor | 1 | YKTS-60-4-56L
15 | 12120300004410 | Rear separating | 1 | ABS+White | Special Order
16 | 12220300000454 | Left Pulling Rod of Motor | 1 | 1.2 | Special Order
17 | 12220300000455 | Right Puling Rod of Motor | 1 | 1.2 | Special Order
18 | 12100103000086 | Centrifugal Fan | 1 | LX-196*62*8-15N
19 | 12820300000561 | Volute shell (below) | 1 | EPS | Special Order
21 | 12820300000562 | Volute shell (above) | 1 | EPS | Special Order
22 | 17220300003931 | Electronic control box assly. | 1 | US-KC23/N1Y-FB8(J8).JD.WS.NK.DK1.1 | Special Order
22.2 | 12220300000492 | Electronic control box | 1 | 0.6 | Special Order
22.3 | 17120300003871 | Main control board assembly | 1 | US-KC35/N1Y-KBWM.JD.WS.NK.NK1.8
22.4 | 11201007003446 | Room Temperature Sensor | 1 | CGQ-WD/SW4100-L350-XHBCP2BL-P300
22.5 | 17401202000156 | Power cord | 1 | 0651513LY,JLL301-16,AWG16x3,V120,A13
23 | 17220300003670 | Electronic control box cover | 1 | US-KC23/N8Y-HKB(CL0).ZJD.JWS.NK.DQ1.1,0.6 | Special Order
23.2 | 17400104000765 | Combined Capacitor | 1 | (compressor+ fan motor)uF50+15,V250
23.3 | 12200203000798 | Fix clamp | 1 |  | Special Order
24 | 17317000A53268 | Remote controller | 1 | R09B/BGCE
25 | 12120300A21651 | Filter | 1 | US-KC23/N1Y-KBV.1-10
34 | 12220300003507 | Air outlet frame | 1 | US-KC18/N8Y-HKB(CL1).4 | Special Order