## PART CD
Danby Model:DAC080ECB2GDB
Factory Model:MWDCK-08CRN1-BK3
Effective Date:2/12/2015
Revision: | New | 00.2 | 00.3
NO | PART NUMBER | UPDATED PART NUMBER | UPDATED PART NUMBER | PART DESCRIPTION (ENG) | QTY | Notes
1 | 12120300A01917 |  |  | Front panel assembly | 1
1.1 | 12120300001051 |  |  | Front panel | 1 | Specal Order
1.2 | 12120300000831 |  |  | Air outlet frame | 1 | Specal Order
1.4 | 12120300001113 |  |  | Panel frame | 1 | Specal Order
1.5 | 12120300000695 |  |  | Vertical vane I | 2 | Specal Order
1.6 | 12120300000982 |  |  | Louver holder | 2 | Specal Order
1.7 | 12120300000737 |  |  | Vertical vane II | 4 | Specal Order
1.8 | 17220300A02002 |  |  | Display box assembly | 1 | Specal Order
2 | 15820300000144 |  |  | Evaporator assembly | 1 | Specal Order
3 | 11103010000932 |  |  | Compressor | 1 | Specal Order
4 | 15820300000656 |  |  | Condenser assembly | 1 | Specal Order
5 | 12020300A00097 |  |  | Installation accessory | 1
7 | 12220300000786 |  |  | Cabinet assembly | 1 | Specal Order
8 | 12220300A00135 |  |  | Top shutter frame | 1
9 | 12220300000417 |  |  | Chassis assembly | 1 | Specal Order
11 | 15120300001404 |  |  | Suction pipe | 1 | Specal Order
12 | 15120300001041 |  |  | Discharge pipe assembly | 1 | Specal Order
13 | 12100105000087 |  |  | Axial flow fan | 1 | Specal Order
14 | 11002012005130 |  |  | Asynchronous motor | 1 | Specal Order
15 | 12120300000563 |  |  | Rear separating | 1 | Specal Order
16 | 12220300000454 |  |  | Left linker of fan motor | 1 | Specal Order
17 | 12220300000455 |  |  | Right linker of fan motor | 1 | Specal Order
18 | 12100103000086 |  |  | Centrifugal fan | 1 | Specal Order
19 | 12820300000116 |  |  | Volute shell (below) | 1 | Specal Order
20 | 12820300000126 |  |  | Mid volute shell | 1 | Specal Order
21 | 12820300000107 |  |  | Volute shell (above) | 1 | Specal Order
22 | 17220300A01852 |  |  | Electronic control box assembly | 1 | Specal Order
22.2 | 12220300000492 |  |  | Cover of electronic control box | 1 | Specal Order
22.3 | 17120300A00003 |  |  | Main control board assembly | 1 | Specal Order
22.4 | 11201007000088 |  |  | Ambient temperature sensor assembly | 1 | Specal Order
23 | 17220300000348 | 17220300001036 | 17220300000312 | Electronic control box assembly | 1 | Specal Order
23.2 | 17400104000009 | 17400104000017 | 17400104000003 | Capacitor of compressor | 1 | Specal Order
23.3 | 12200203000011 |  |  | Capacitor clip | 1 | Specal Order
23.5 | 17401202000172 |  |  | Power cord | 1 | Specal Order
23.6 | 12220300000481 |  |  | Electronic control box | 1 | Specal Order
24 | 17317000A04536 |  |  | Remote controller | 1
25 | 12100204000537 |  |  | Filter | 1