## PART CD
Danby Model: DAC080EUB7GDB
Factory Model: MWEUK-08CRN1-BCL0
Effective Date: 02/03/2016
Revision: | New
NO | PART NUMBER | PART DESCRIPTION (ENG) | QTY | Notes
1 | 12120300A07897 | Front panel assembly | 1.0
1.1 | 12120300A06181 | Front panel | 1.0 | special order
1.2 | 12120300A06184 | Air outlet frame | 1.0 | special order
1.4 | 12120300A06180 | Panel frame | 1.0 | special order
1.5 | 12120300A06182 | Vertical vane I | 2.0 | special order
1.6 | 12120300002286, | Louver holder | 2.0 | special order
1.7 | 12120300A06183 | Vertical vane II | 4.0 | special order
1.8 | 17220300A05523 | Display box assembly | 1.0 | special order
2 | 15820300001309 | Evaporator assembly Gas valve assembly | 1.0 | special order
3 | 11103010002889 | Fixed Speed Rotary Compressor | 1.0 | special order
4 | 15820300001307 | Condenser Assembly | 1.0 | special order
5 | 12020300A00584 | Installation accessory | 1.0
7 | 12220300001918 | Floor Subassembly | 1.0 | special order
8 | 12220300A00379 | Upper Shutter Frame Assembly | 1.0
9 | 12220300001620 | Chassis Assembly | 1.0 | special order
11 | 15120300001404 | Compressor suction pipe | 1.0 | special order
12 | 15120300003802 | Parts of compressor exhaust pipe | 1.0 | special order
13 | 12100105000087 | Axial fan | 1.0 | special order
14 | 11002012010040 | Single-phase Asynchronous Motor | 1.0 | special order
15 | 12120300002244 | Rear barrier Subassembly | 1.0 | special order
16 | 12220300000454 | Left Pulling Rod of Motor | 1.0 | special order
17 | 12220300000455 | Right Puling Rod of Motor | 1.0 | special order
18 | 12100103000086 | Centrifugal Fan | 1.0 | special order
19 | 12820300000279 | Volute shell (below) | 1.0 | special order
20 | 12820300000259 | Volute shell (above) | 1.0 | special order
20.1 | 12820300000261 | Mid volute shell | 1.0 | special order
20.2 | 12820300000260 | Volute shell (above) | 1.0 | special order
22 | 17220300001470 | Electronic control box assembly | 1.0 | special order
22.2 | 12220300001618 | Electronic control box | 1.0 | special order
22.3 | 17120300002168 | Main Control Board Subassembly(Sticker) | 1.0 | special order
22.4 | 11201007000088 | Room Temperature Sensor | 1.0
22.5 | 17400104000003 | Combined Capacitor | 1.0
22.6 | 17401202000156 | Power Supply Cable Subassembly | 1.0
23 | 12220300001619 | Cover of electronic control box | 1.0 | special order
24 | 17317000A04490 | Remote controller | 1.0
25 | 12100204A00158 | Filter | 1.0