## PART CD
Danby Model:DAC100EB2GDB
Factory Model:MWK-10CRN1-BK3
Effective Date:3/3/2014
Revision: | New
NO | PART NUMBER | UPDATED PART NUMBER | PART DESCRIPTION (ENG) | QTY | Notes
1 | 2011217A0769 |  | Panel assembly | 1 | Special Order
2 | 201121790369 |  | Front panel | 1
3 | 201121790355 |  | Panel frame | 1 | Special Order
4 | 201120490141 |  | Air filter | 1
5 | 2033550A9390 | 2033550A9467 | Remote controller | 1
6 | 2033215A0095 |  | Electronic control box assembly | 1 | Special Order
7 | 202433190000 |  | Ambient temperature sensor assembly | 1 | Special Order
8 | 202402290003 |  | Power cord | 1
9 | 2013215A0010 |  | Main control board assembly | 1
10 | 203321790206 |  | Electronic control box assembly | 1 | Special Order
11 | 201221790282 |  | Electronic control box | 1 | Special Order
12 | 202401400002 |  | Capacitor of compressor | 1
13 | 201120490140 |  | Bracket of fresh air door | 1
14 | 201121790033 |  | Fresh air door | 1
15 | 201100100063 |  | Centrifugal fan | 1
16 | 202221790023 |  | Volute shell (below) | 1 | Special Order
17 | 202221790022 |  | Mid volute shell | 1 | Special Order
18 | 201121790328 |  | Wind baffle board | 1 | Special Order
19 | 202221790025 |  | Volute shell (above) | 1 | Special Order
20 | 201121790362 |  | Rear separating | 1 | Special Order
21 | 201100300031 |  | Axial flow fan | 1
22 | 202400401279 |  | Asynchronous motor | 1
| 202400401579 |  | Asynchronous motor | 1
| 202400401549 |  | Asynchronous motor | 1
23 | 201621590448 |  | Suction pipe | 1 | Special Order
24 | 201402203310 |  | compressor | 1 | Special Order
25 | 201621590449 |  | Discharge pipe assembly | 1 | Special Order
26 | 201521590116 |  | Evaporator coil assembly | 1 | Special Order
27 | 201521790266 |  | Evaporator | 1 | Special Order
28 | 201621590416 |  | Capillary assembly | 2 | Special Order
29 | 201521790216 |  | Condenser assembly | 1 | Special Order
30 | 201221790291 |  | Chassis assembly | 1 | Special Order
31 | 201120490093 |  | Connecting bar of cabinet | 2
32 | 201221790193 |  | Top shutter frame | 1
33 | 201221790201 |  | Cabinet | 1 | Special Order
34 | 2028217A0029 |  | Installation accessory | 1
35 | 201120490086 |  | Left shutter frame | 1 | Special Order
36 | 201120490089 |  | Shutter | 2 | Special Order
37 | 201120490088 |  | Locking bar of shutter | 2 | Special Order
38 | 201120490087 |  | Right shutter frame | 1 | Special Order
39 | 201220490075 |  | Bracket for Right shutter frame | 1 | Special Order
40 | 201220390002 |  | Clamp of Shutter | 2 | Special Order
41 | 201220190043 |  | Installation plate | 1 | Special Order
42 | 201220490074 |  | Bracket for Left shutter frame | 1 | Special Order
43 | 2033217A0573 |  | Display box assembly | 1 | Special Order
44 | 201321190049 |  | Display box assembly | 1 | Special Order
45 | 201121790041 |  | Control panel | 1
system MZ
10 | 203321590146 |  | Electronic control box assembly | 1 | Special Order
23 | 201621590420 |  | Suction pipe | 1 | Special Order
24 | 201400611165 |  | compressor | 1 | Special Order
25 | 201621590405 |  | Discharge pipe assembly | 1 | Special Order
system RZ
23 | 201621590450 |  | Suction pipe | 1 | Special Order
24 | 201402000940 |  | compressor | 1 | Special Order
25 | 201621590415 |  | Discharge pipe assembly | 1 | Special Order