## PART CD
Danby Model:DAC100ECB2GDB
Factory Model:CAN-KC30/N1Y-DKB(K3)
Effective Date:1/27/2015
Revision: | New
NO | PART NUMBER | PART DESCRIPTION (ENG) | QTY | Notes
1 | 12120300A02013 | Panel assembly | 1
1.1 | 12120300001058 | Panel | 1 | Special Order
1.2 | 12120300001157 | Panel frame assembly | 1 | Special Order
1.2.1 | 12120300000962 | Transverse Louver | 2 | Special Order
1.2.2 | 12120300001123 | Panel frame | 1 | Special Order
1.2.3 | 12120300000973 | Louver Holder | 2 | Special Order
1.2.4 | 12120300000960 | Transverse Louver | 4 | Special Order
1.2.5 | 12120300000840 | Air Out Frame | 1 | Special Order
2 | 12100204000539 | Filter | 1
3 | 17317000A03344 | Remote controller | 1
7 | 17220300A01758 | E-Parts Box Subassembly | 1 | Special Order
7.3 | 11201007000088 | Room Temperature Sensor | 1
7.5 | 17401202000085 | Power Supply Cable Subassembly | 1
7.6 | 17120300000570 | Main Control Board Subassembly(Sticker) | 1 | Special Order
7.10 | 12220300000494 | Electrical Control Box Cover | 1 | Special Order
8 | 17220300000363 | E-Parts Box Subassembly | 1
8.1 | 12220300000508 | Structure Subassembly of Electrical Control Box | 1 | Special Order
8.2 | 17400104000003 | Combined Capacitor | 1 | Special Order
8.3 | 12200203000011 | Capacitor Clamp | 1 | Special Order
9 | 12120300001268 | Pocket of new vent door | 1 | Special Order
10 | 12120300001275 | New vent door | 1 | Special Order
11 | 12100103000052 | Centrifugal Fan | 1
12 | 12820300000112 | Lower Air Duct Foam | 1 | Special Order
13 | 12820300000128 | Foam of middle air channel | 1 | Special Order
14 | 12120300000523 | Air duct plate | 1 | Special Order
15 | 12820300000098 | Upper Air Duct Foam | 1 | Special Order
17 | 12120300000569 | Rear barrier Subassembly | 1 | Special Order
18 | 12100105000032 | Axial fan | 1
19 | 11002012003726 | Single-phase Asynchronous Motor | 1
21 | 15120300001391 | Parts of compressor return pipe | 1 | Special Order
22 | 11103010001419 | Fixed speed rotary compressor | 1 | Special Order
23 | 15120300001000 | Parts of compressor exhaust pipe | 1 | Special Order
24 | 15820300000205 | Evaporator assembly Gas valve assembly | 1 | Special Order
24.1 | 15820300000441 | Evaporator | 1 | Special Order
24.2 | 15120300001181 | Capillary Assembly | 1 | Special Order
25 | 15820300000638 | Condenser Assembly | 1 | Special Order
26 | 12220300000425 | Chassis Assembly | 1 | Special Order
27 | 12120300001346 | Connection Bar on Case | 2
28 | 12220300000891 | Upper Shutter Frame | 1
29 | 12220300000835 | Floor | 1 | Special Order
30 | 12020300A00017 | Installing Accessories | 1
30.1 | 12120300001390 | Left frame strip | 1 | Special Order
30.2 | 12120300001329 | Shutter | 2 | Special Order
30.3 | 12120300001307 | Wnap strip | 2 | Special Order
30.4 | 12120300001368 | Right shutter frame | 1 | Special Order
30.5 | 12220300000923 | Holder of Right Frame Strip | 1 | Special Order
30.6 | 12220300000878 | Shutter Clamp | 2 | Special Order
30.7 | 12220300000863 | Installing L Plate | 1 | Special Order
30.8 | 12220300000935 | Support of left frame strip | 1 | Special Order
32 | 17220300A00550 | Structure Subassembly of Display Box | 1
32.1 | 17120300000038 | VLED Display Module | 1 | Special Order
32.2 | 12120300000621 | Control board | 1 | Special Order