## PART CD
Danby Model:DAC120EB2GDB
Factory Model:MWK-12CRN1-BK3
Effective Date:23-Jan-14
Revision: | New
NO | PART NUMBER | UPDATED PART NUMBER | UPDATED PART NUMBER | PART DESCRIPTION (ENG) | QTY | Notes
1 | 2011217A0769 |  |  | Panel assembly | 1 | Special order
2 | 201121790369 |  |  | Front panel | 1
3 | 201121790355 |  |  | Panel frame | 1 | Special order
4 | 201120490141 |  |  | Air filter | 1
5 | 2033550A9653 |  | 2033550A9467 | Remote controller | 1
6 | 2033215A0095 |  |  | Electronic control box assembly | 1 | Special order
7 | 202433190000 |  |  | Ambient temperature sensor assembly | 1
8 | 202402290003 |  |  | Power cord | 1
9 | 2013215A0010 |  |  | Main control board assembly | 1
10 | 201221390027 |  |  | Cover of electronic control box | 1 | Special order
11 | 203321790318 |  |  | Electronic control box assembly | 1 | Special order
12 | 201221790282 |  |  | Electronic control box | 1 | Special order
13 | 202401400048 |  |  | Capacitor of compressor | 1
14 | 201200100002 |  |  | Capacitor clip | 1 | Special order
15 | 201120490140 |  |  | Bracket of fresh air door | 1 | Special order
16 | 201121790033 |  |  | Fresh air door | 1 | Special order
17 | 201100100063 |  |  | Centrifugal fan | 1
18 | 202221790023 |  |  | Volute shell (below) | 1 | Special order
19 | 202221790022 |  |  | Mid volute shell | 1 | Special order
20 | 201121790328 |  |  | Wind baffle board | 1 | Special order
21 | 202221790025 |  |  | Volute shell (above) | 1 | Special order
22 | 201121790362 |  |  | Rear separating | 1 | Special order
23 | 201100300031 |  |  | Axial flow fan | 1 | Special order
24 | 202400401279 | 202400401279 | 202400401549 | Asynchronous motor | 1
| 202400401579 | 202400401579 | 202400401549 | Asynchronous motor | 1
25 | 201621791237 |  |  | Suction pipe | 1 | Special order
26 | 201400611179 |  |  | compressor | 1 | Special order
27 | 201621791235 |  |  | Discharge pipe assembly | 1 | Special order
28 | 201521790291 |  |  | Evaporator coil assembly | 1 | Special order
29 | 201521790266 |  |  | Evaporator | 1 | Special order
30 | 201621791175 |  |  | Capillary assembly | 1 | Special order
31 | 201521790292 |  |  | Condenser assembly | 1 | Special order
32 | 201221790291 |  |  | Chassis assembly | 1 | Special order
33 | 201120490093 |  |  | Connecting bar of cabinet | 2
34 | 201221790193 |  |  | Top shutter frame | 1
35 | 201221790201 |  |  | Cabinet | 1
36 | 2028217A0029 |  |  | Installation accessory | 1
37 | 201120490086 |  |  | Left shutter frame | 1 | Special order
38 | 201120490089 |  |  | Shutter | 2 | Special order
39 | 201120490088 |  |  | Locking bar of shutter | 2 | Special order
40 | 201120490087 |  |  | Right shutter frame | 1 | Special order
41 | 201220490075 |  |  | Bracket for Right shutter frame | 1 | Special order
42 | 201220390002 |  |  | Clamp of Shutter | 2 | Special order
43 | 201220190043 |  |  | Installation plate | 1 | Special order
44 | 201220490074 |  |  | Bracket for Left shutter frame | 1 | Special order
45 | 2033217A0573 |  |  | Display box assembly | 1 | Special order
46 | 201321190049 |  |  | Display board assembly | 1
47 | 201121790041 |  |  | Control panel | 1
System QA
11 | 203321790309 |  |  | Electronic control box assembly | 1 | Special order
13 | 202401400047 |  |  | Capacitor of compressor | 1 | Special order
25 | 201621791211 |  |  | Suction pipe | 1 | Special order
26 | 201402203300 |  |  | compressor | 1 | Special order
27 | 201621791209 |  |  | Discharge pipe assembly | 1 | Special order
System RZ
11 | 203321790206 |  |  | Electronic control box assembly | 1 | Special order
13 | 202401400029 |  |  | Capacitor of compressor | 1 | Special order
25 | 201621791173 |  |  | Suction pipe | 1 | Special order
26 | 201402000980 |  |  | compressor | 1 | Special order
27 | 201621791172 |  |  | Discharge pipe assembly | 1 | Special order