## PART CD
Danby Model: DAC120EUB6GDB
Factory Model: MWEUK-12CRN1-BCL0
Effective Date: 26/02/2016
Revision: | New
NO | PART NUMBER | PART DESCRIPTION (ENG) | QTY | PARTS SPECIFICATION | Notes
1 | 12120300A09398 | Panel assembly | 1.0 | HIPS
1.1 | 12120300002647 | Front panel | 1.0 | ABS | Special Order
1.2.1 | 12120300003044 | Horizontal louver | 2.0 | HIPS | Special Order
1.2.2 | 12120300002646 | Panel frame | 1.0 | ABS | Special Order
1.2.3 | 12120300003046 | Connecting rod of louver | 2.0 | ABS | Special Order
1.2.4 | 12120300003045 | Horizontal louver | 4.0 | HIPS | Special Order
1.2.5 | P0000000065116 | Horizontal louver | 1.0 | HIPS | Special Order
2 | 12100204000539 | Filter | 1.0 | PP
3 | 17317000A04536 | Remote controller | 1.0
7 | 17220300001610 | Electronic control box assembly | 1.0 |  | Special Order
7.3 | 11201007000088 | Room Temperature Sensor | 1.0
7.5 | 17401202000109 | Power Supply Cable Subassembly | 1.0 | Style AWM 21301 Or JLL301-14 Size, AWG 14 x 3 Cord rating, A, W 15, 1800 | Special Order
7.6 | 17120300002168 | Main Control Board Subassembly(Sticker) | 1.0 |  | Special Order
7.7 | 12220300001760 | Electronic control box | 1.0 | 热镀锌板0.6 | Special Order
7.8 | 17400104000023 | Combined Capacitor | 1.0 |  | Special Order
10 | 12120300002384 | Fresh air door | 1.0 | ABS | Special Order
11 | 12100103000052 | Centrifugal Fan | 1.0
12 | 12820300000399 | Volute shell (below) | 1.0 | 阻燃EPS | Special Order
15 | 12820300000339 | Volute shell (above) | 1.0 | 阻燃EPS | Special Order
15.1 | P0000000032716 | Volute shell (above) | 1.0 | 阻燃EPS | Special Order
15.2 | 12120300003025 | Wind baffle board | 1.0 | PP | Special Order
15.3 | P0000000032719 | Mid volute shell | 1.0 | 阻燃EPS | Special Order
15.4 | 12120300003165 | Bracket of fresh air door | 1.0 | HIPS | Special Order
17 | 12120300002304 | Rear separating | 1.0 | ABS | Special Order
18 | 12100105000032 | Axial fan | 1.0
19 | 11002012010280 | Single-phase Asynchronous Motor | 1.0
21 | 15120300003983 | Suction pipe | 1.0 | Φ12.7*0.75 | Special Order
22 | 11103010003049 | Fixed Speed Rotary Compressor | 1.0 |  | Special Order
23 | 15120300003984 | Parts of compressor exhaust pipe | 1.0 | Φ9.53*6.35 | Special Order
24 | 15820300001468 | Evaporator assembly Gas valve assembly | 1.0 |  | Special Order
24.1 | 15820300001469 | Evaporator | 1.0 |  | Special Order
24.2 | 15120300003987 | Capillary Assembly | 1.0 | Φ2.5*1.1*750/Φ2.5*1.1*850 | Special Order
25 | 15820300001467 | Condenser Assembly | 1.0 |  | Special Order
26 | 12220300001762 | Chassis assembly | 1.0 | 热镀锌板0.8 | Special Order
28 | 12220300000889 | Upper Shutter Frame | 1.0 | 热镀锌板0.8
29 | 12220300001998 | Cabinet | 1.0 | 热镀锌板0.5 | Special Order
30 | 12020300A00685 | Installation accessory | 1.0
32 | 17220300A06963 | Display box assembly | 1.0
32.1 | 17120300002668 | Display board assembly | 1.0 |  | Special Order
32.2 | 12120300002644 | Control panel | 1.0 |  | Special Order
36 | 12220300001758 | Cover of electronic control box | 1.0 | 热镀锌板0.6 | Special Order