## Sheet1
Revision |  | Change Description
A |  | New
B |  | Update remote controller material code NO. 40 from 2033550A9653 to 2033550A9467, the new one and old one is exchanged.
C |  | Updated NO.11 Asynchronous motor by adding new supplier(BROAD-OCEAN) and deleting a same material code NO.29 of capacitor of fan motor.
Danby Model: |  | DAC180EB1GDB
Factory Model: |  | MWK-18CRN1-MK2
Revision: |  | C
Effective Date: |  | 2014-03-03
NO | MATERIAL CODE | PART DESCRIPTION (ENG) | QTY | PARTS MODEL | PARTS SPECIFICATION | NOTE
1 | 2011219A0887 | Front panel | 1 |  | HIPS+S1007
2 | 2011219A0840 | Air filter | 1 | US1-KC53/N1Y-KB1(K2)-2
3 | 2011219A0886 | Panel frame assembly | 1 |  | HIPS+S1007
4 | 2011219A0885 | Panel frame | 1 |  | HIPS+S1007
5 | 2033218A0322 | Display box assembly | 1 | US-KC45/N1Y-KB(J7)-[J].D.04.XK1.1
6 | 202221990002 | Condenser water tray | 1
7 | 202221990031 | Upper volute shell | 1
8 | 201100120004 | Centrifugal fan | 1 | LX-231*108*12.7-70N
| 201100120004 | Centrifugal fan | 1 | LX-231*108*12.7-70N
| 201100120004 | Centrifugal fan | 1 | MDLX-Φ231×108×70 5218
| 201100120004 | Centrifugal fan | 1 | MDLX-Φ231×108×70 5218
| 201100120004 | Centrifugal fan | 1 | MDLX-Φ231×108×70 5218
9 | 201221990190 | Front right barrier | 1 |  | SC
10 | 202221990030 | Rear volute shell assembly | 1
11 | 202400401567 | Asynchronous motor | 1 | YSK150-6BH（YSLA-155-6-B001-001） |  | use Rating, uF, V min 8, 440 capacity
| 202400401567 | Asynchronous motor | 1 | YSK150-6BH(Y7S623C596) |  | use Rating, uF, V min 8, 300 capacity
| 202400401582 | Asynchronous motor | 1 | YSK150-6BH(B)（YSLA-145-6-B001-001） |  | use Rating, uF, V min 8, 450 capacity
| 202400401582 | Asynchronous motor | 1 | YSK150-6BH(B)(Y7S623D587L) |  | use Rating, uF, V min 8, 370 capacity
12 | 201121990298 | Rear separating | 1 |  | HIPS
13 | 201100320005 | Axial flow fan | 1 | ZL-396*102*12.7-5F
| 201100320005 | Axial flow fan | 1 | ZL-396*102*12.7-5F 8265
| 201100320005 | Axial flow fan | 1 | MDZL-Φ396×102×5 5218
| 201100320005 | Axial flow fan | 1 | MDZL-Φ396×102×5 5218
14 | 201221990189 | Front cover | 1 |  | SC
15 | 203321990309 | Front left barrier | 1
16 | 201221990187 | Front left barrier | 1
17 | 202401000074 | Capacitor of compressor | 1 | Rating, uF, V minimum 50, 450
18 | 201200100002 | Capacitor clip | 1
19 | 201121990296 | Fresh air door | 1 |  | HIPS+S1007
20 | 201121990295 | Bracket of fresh air door | 1
21 | 201121990297 | Connecting rod of fresh air door | 1 |  | HIPS+S1007
22 | 2033219A0456 | Electronic control box assembly | 1 | US1-KC53/N1Y-KB(I7).D.04.DQ1.3(ES)
23 | 201221990185 | Electronic control box | 1
24 | 2023009A0026 | transformer | 1 | TF2-C20-1F
| 2023009A0026 | transformer | 1 | TF2-C20-1F
25 | 202301300077 | Pipe temperature sensor assembly | 1
26 | 202419990024 | Power cord | 1 | Cat. No.00021500 Size, AWG 14 x 3 Style No.21301
| 202419990024 | Power cord | 1 | Cat. No.30381 Size, AWG 14 x 3 Style No.21571
| 202419990024 | Power cord | 1 | Cat. No. 0661515LY Size, AWG 14 x 3 Style No.21301 or JLL301-14
| 202419990024 | Power cord | 1 | Cat. No. GPL-15-2 or GPL-15-2N Size, AWG 14 x 3 Style No.21571 or GPW02
27 | 2013213A0045 | Main control board assembly | 1 | US1-KC53/N1Y-KB(I7).D.04.NK1.3A(ES)
28 | 201121890173 | Bracket of main control board | 1
29 | 202401100967 | Capacitor of fan motor | 1 | Min. rating, uF, V 8, 450
30 | 201521990167 | Evaporator coil assembly | 1 | ELUS1-KC53/N1Y-KG10(K2)-F-D.ZL.2
31 | 201521990168 | Evaporator coil | 1 | ELUS1-KC53/N1Y-KG10(K2)-F-D.ZL.2.1
32 | 201621990836 | Capillary assembly | 1 |  | ф2.2*0.9+600
33 | 201621990833 | Suction pipe assembly | 1
34 | 201400611174 | Compressor | 1 | PA155M2A-3ETL
35 | 201621990834 | Discharge pipe assembly | 1
36 | 201621990819 | Super-cooling pipe | 1
37 | 201521990169 | Condenser assembly | 1 | ELUS1-KC53/N1Y-KG10(K2)-F-D.ZL.1
38 | 201221990128 | Chassis assembly | 1 |  | SC+SB1007
39 | 201221890081 | Cabinet assembly | 1 |  | SC+SB1007
40 | 2033550A9467 | Remote controller | 1 | R15B
41 | 2028218A0030 | Installation accessory | 1
42 | 201222190008 | Locking bar | 2
43 | 201221890083 | Right bracket | 1 |  | SC+SB1007
44 | 201121990022 | Shutter | 2 |  | PVC+S1007
45 | 201121990021 | Right shutter frame | 1 |  | ABS+S1007
46 | 201121990285 | Connecting bar of cabinet | 2 |  | PVC+S1007
47 | 201121990020 | Left shutter frame | 1 |  | ABS+S1007
48 | 201221890082 | Left supporter | 1 |  | SC+SB1007
49 | 201221990016 | Top shutter frame | 1 |  | SC+SB1007
50 | 201121890102 | Bracket of fresh air door | 1 |  | HIPS
51 | 2011219A0853 | Air outlet assembly | 1