## PART CD
Danby Model: DPA050E2BDB-6
Factory Model: TAC-05CPD/RW
Effective Date: 2020-11-21
Revision: 00
NO | PART NUMBER | PART DESCRIPTION (ENG) | QTY | PARTS SPECIFICATION | Notes
01 | 810701453A | Horizon deflector A | 3 | ABS+BLACK | Special Order
02 | 810701454A | Horizon deflector B | 1 | ABS+BLACK | Special Order
03 | 810701455 | Deflector link | 1 | POM+BLACK | Special Order
04 | 810701437A | Upper front panel | 1 | HIPS+BLACK | Special Order
05 | 810701450A | Lower front panel | 1 | HIPS+BLACK | Special Order
06 | 811306604Q | Panel sticker | 1 | PET
07 | 810900518 | Receiver board | 1 | TD-YD(K-H)-JS1.0.PCB | Special Order
08 | 810701568M | Top panel | 1 | ABS+BLACK | Special Order
09 | 810900612 | Display board | 1 | 08CPA/RM(RW)
10 | 811306605 | Display board cover | 1 | HIPS+WHITE | Special Order
11 | 810900789A | Remote controller | 1 | UYKQ-92A
12 | 810701797C | Left panel | 1 | HIPS+BLACK | Special Order
13 | 810701742 | Evaporator duct cover | 1 | PP+BLACK | Special Order
14 | 810701438 | Evaporator upper duct | 1 | HIPS+BLACK | Special Order
15 | 810701460A | Bidirectional centrifugal fan | 1 | φ150×115-φ8
16 | 810701720 | Evaporator duct wall | 1 | PP+BLACK | Special Order
17 | 810701448 | Vertical deflector | 1 | ABS+BLACK | Special Order
18 | 810800204 | Protection net | 1 | STEEL+BLACK | Special Order
19 | 810701442 | Evaporator lower duct | 1 | HIPS+BLACK | Special Order
20 | 810900541 | Fan motor | 1 | SA(AL)64A or YKTS-64-4-51L
21 | 810701556 | Evaporator tray | 1 | HIPS+BLACK | Special Order
22 | 810701981 | Centrifugal fan | 1 | φ200*75*φ8
23 | 810800197 | Support bar | 2 | STEEL | Special Order
24 | 810800199 | Electrical box cover | 1 | STEEL | Special Order
25 | 810900578 | Fan motor capacitor | 1 | 10μF/250V
26 | 810900679A | Control circuit board | 1 | CPA/R(CEC)
27 | 810701559A | Electrical box | 1 | STEEL | Special Order
28 | 810701721 | Condenser duct | 1 | PP+BLACK | Special Order
29 | 810900443D | Power cord | 1 | 15A,AWG16
30 | 811202255 | Suction pipe | 1 |  | Special Order
31 | 811202253 | Discharge pipe | 1 |  | Special Order
32 | 810701447 | Capacitor cover | 1 | HIPS+BLACK | Special Order
33 | 8170120018 | Capacitor of compressor | 1 | 55μF/250V
34 | 811202225 | Compressor | 1 | 39X161GU&5@#A | Special Order
35 | 50610-100002 | Nut | 3 | M8, STEEL | Special Order
36 | 810900031A | Float switch | 1 | SKY-MF-301-1A1-DLM0419 or YW-TCLSW-002B or FH-DL310102 or FS-1A-30
37 | 810900371C | Splash motor | 1 | PLD61-120 or R61-120B
38 | 810701092A | Splash disk | 1 | PC+WHITE
39 | 42001-000057 | Clamp | 1 | PA66+WHITE | Special Order
40 | 810701555A | Base | 1 | PP+WHITE | Special Order
41 | 810701900 | Stopper | 1 | RUBBER+BLACK
42 | 810701160 | Castor | 4 | PA66+PA6+Steel+Black
43 | 810702471E | Back panel | 1 | HIPS+BLACK | Special Order
44 | 811800040A | Tie | 1 | PA66+BLACK
45 | 810701456A | Filter of evaporator | 1
46 | 810701299C | cover of drainage hose | 1 | HIPS+RUBBER+PA66+BLACK
47 | 810701452A | Right panel | 1 | HIPS+BLACK | Special Order
48 | 92007-005463 | Sensor resistance | 1 | CWF2 or JLB-CWF or TCL-C03 or WF4C502/WF1C502
49 | 8070130039 | Sensor fixer | 1 | PP+WHITE | Special Order
50 | 811201863 | Evaporator | 1 | TAC-06CPA/RV(MZ)(E1)(DOE).04.01 | Special Order
51 | 810701457A | Hose inlet | 1 | PP+BLACK
52 | 810701090A | Hose outlet | 1 | PP+BLACK
53 | 810700746G | Window slider | 1 | PVC+BLACK
54 | 810701558A | Hose pipe | 1 | PP+STEEL+BLACK
55 | 811201862 | Condenser | 1 | TAC-06CPA/RV(MZ)(E1)(DOE).04.02 | Special Order
56 | 811202163 | Capillary | 1 | φ0.9(ILD.)×450mm | Special Order
| 810700747D | No hole Window slider | 1 | PVC+BLACK