## PART CD
Danby Model:DPA110CB5BP
Factory Model:MPPD-12CRN1-BI0
Effective Date:1/31/2015
Revision: | New
NO | PART NUMBER | PART DESCRIPTION (ENG) | QTY | Notes
1 | 12120600A00875 | Front panel assembly | 1 | Special Order
1.1 | 12120600A00815 | Front panel | 1 | Special Order
1.2 | 17120600000020 | Signal receiving board assembly | 1 | Special Order
1.3 | 12120600A00196 | Adorn board | 1 | Special Order
1.4 | 12120600A00816 | Upper panel | 1 | Special Order
1.5 | 12120600A00818 | Horizontal louver | 1 | Special Order
1.7 | 12120600000004 | Gear wheel | 1 | Special Order
1.8 | 11002010000176 | Louver motor | 1 | Special Order
1.9 | 12120600A00817 | Mid panel | 1 | Special Order
1.10 | 17220600A00078 | Display box assembly | 1
2 | 12120600000921 | Air outlet volute shell assembly | 1 | Special Order
2.1 | 11002012002503 | Asynchronous motor | 1
2.2 | 12120600000925 | Air outlet volute shell | 1 | Special Order
2.3 | 12100103000044 | Centrifugal fan | 1
2.4 | 12120600000896 | Cover of Air outlet volute shell | 1 | Special Order
2.5 | 12220600000039 | Air outlet grille | 1 | Special Order
2.6 | 17400101000008 | Capacitor of fan motor | 1
2.7 | 12120600001475 | Capacitor box | 1 | Special Order
2.8 | 12120600001476 | Fasten board of Capacitor | 1 | Special Order
4 | 17220600A00255 | Electronic control box assembly | 1 | Special Order
4.1 | 12120600000397 | Electronic control box | 1 | Special Order
4.3 | 17120600A00205 | Main control board assembly | 1
4.4 | 11203103000067 | Transformer | 1 | Special Order
5 | 12120600000401 | Cover of electronic control box | 1 | Special Order
6 | 15120600000355 | Suction pipe assembly | 1 | Special Order
7 | 15120600000315 | Discharge pipe assembly | 1 | Special Order
9 | 15120600000456 | Capillary assembly | 1 | Special Order
10 | 15820600000011 | Evaporator coil assembly | 1 | Special Order
11 | 15820600000271 | Condenser assembly | 1 | Special Order
12 | 12120600A00827 | Rear panel assembly | 1 | Special Order
13 | 12120600A00829 | Connector of air exchaust duct (unit end) | 1
14 | 12120600A00832 | Flexible air exhaust hose | 1
16 | 12120600A00836 | Air exhaust passage (window end) | 1
17 | 12120600A00833 | Window sealing board I | 1 | now has kit number, see below
18 | 12120600A00834 | Window sealing board II | 1 | now has kit number, see below
19 | 17317000A04371 | Remote controller | 1
20 | 12120600000036 | Power cord cover | 1 | Special Order
21 | 12120600A00839 | Cover of drain connector | 1
22 | 12100509000040 | Drain pipe | 1
23 | 12600801000048 | Drain stopper | 1
25 | 12120600000335 | Chassis assembly | 1 | Special Order
25.2 | 11002017000054 | Shaded pole motor | 1 | Special Order
25.5 | 12120600000250 | Water wheel | 1 | Special Order
25.6 | 17400511000003 | Water level sensor | 1
25.7 | 12220600000265 | Bracket of water level sensor | 1 | Special Order
25.8 | 17400512000001 | Micro switch | 1
25.9 | 12120600001417 | Bracket of Micro switch | 1 | Special Order
25.10 | 12120600001259 | Float case | 1
25.11 | 12820600000007 | Float | 1
25.12 | 12620600000019 | Universal wheel | 1
25.13 | 12120600001649 | Chassis | 1 | Special Order
25.16 | 12820600000003 | Waterproof foam | 1 | Special Order
25.17 | 12120600001411 | Top cover of Shaded pole motor | 1 | Special Order
25.18 | 12120600001399 | Bottom cover of Shaded pole motor | 1 | Special Order
25.21 | 12600801000048 | Drain stopper | 1
26 | 11103010000714 | Compressor | 1 | Special Order
27 | 12220600000075 | Supporting bar | 1 | Special Order
28 | 11201007000124 | Pipe temperature sensor assembly | 1
29 | 11201007000073 | Indoor temperature sensor assembly | 1
30 | 12120600000830 | Air exhaust volute shell assembly | 1 | Special Order
30.1 | 11002012004394 | Asynchronous motor | 1
30.2 | 12120600000886 | Cover of air exhause volute shell | 1 | Special Order
30.3 | 12120600000028 | Middle partition board | 1 | Special Order
30.4 | 12100103000069 | Centrifugal fan | 1
30.5 | 17401202000193 | Power cord | 1
30.6 | 12120600001476 | Fasten board of Capacitor | 1 | Special Order
30.7 | 17400101000071 | Capacitor of fan motor | 1
30.8 | 12120600001475 | Capacitor box | 1 | Special Order
31 | 12120600001477 | Capacitor box | 1 | Special Order
32 | 17400103000063 | Capacitor of compressor | 1
36 | 12120600A00840 | Outdoor air inlet grille assembly | 1 | Special Order
36.1 | 12120600A00830 | Outdoor air inlet grille | 1
36.2 | 12120600000661 | filter | 1
39 | 12120600A00838 | Indoor air inlet grille assembly | 1 | Special Order
39.1 | 12120600A00826 | Indoor air inlet grille | 1
39.2 | 12100204000251 | filter | 1
40 | 12120600001495 | Drain connector | 1
41 | 12120600A00746 | Cover of drain connector | 1
42 | 12120600A00835 | Window sealing board I | 1 | now has kit number, see below
43 | 16020600A01415 | Control panel lebel | 1 | Special Order
44 | 12220600000060 | Cover of electronic control box | 1 | Special Order
17 | 12120600A00833 | Window sealing board I | 1
18 | 12120600A00834 | Window sealing board II | 1
42 | 12120600A00835 | Window sealing board I | 1
| 12020300A00224 | Windowslider kit Assbly accesy | 1 | 17, 18, and 42
| 12100801000019 | Plastic Plug | 2
| 12420600000419 | Foam Kit for DPA sealing | 1